Analog Out Noise:

internal vref

last 1000 counts

| Gain \ Ipix | 10uA | 40uA | 60uA |
| --- | --- | --- | --- |
| 1 | Dark; 12.586. Ref; 12.857. Active; 13.296. | Dark; 46.053. Ref; 44.624. Active; 13.151. | Dark. Ref. Active. |
| 4 | Dark. Ref. Active. | Dark; 48.377. Ref; 48.692. Active; 16.175. | Dark. Ref. Active. |
| 8 | Dark. Ref. Active. | Dark; 47.261. Ref; 48.045. Active; 20.495. | Dark; 19.485. Ref; 19.019. Active; 17.955. |

|  |  | D/R saturation |
| --- | --- | --- |

Analog Out Noise:

external vref *0.5

last 1000 counts

| Gain \ Ipix | 10uA | 40uA | 60uA |
| --- | --- | --- | --- |
| 1 | Dark; 7.311. Ref; 6.835. Active; 6.598. | Dark; 29.426. Ref; 28.527. Active; 6.677. | Dark. Ref. Active. |
| 4 | Dark. Ref. Active. | Dark; 29.663. Ref; 28.125. Active; 11.42. | Dark. Ref. Active. |
| 8 | Dark. Ref. Active. | Dark; 28.648. Ref; 28.707. Active; 16.322. | Dark. Ref. Active. |

Analog Out Noise:

GTM016AN V33D from Vref

external vref *0.5

last 1000 counts

| Gain \ Ipix | 10uA | 40uA | 60uA |
| --- | --- | --- | --- |
| 1 | Dark; 8.199. Ref; 8.267. Active; 6.568. | Dark; 33.499. Ref; 33.603. Active; 6.695. | Dark. Ref. Active. |
| 4 | Dark. Ref. Active. | Dark; 33.044. Ref; 33.102. Active; 11.427. | Dark. Ref. Active. |
| 8 | Dark. Ref. Active. | Dark; 32.669. Ref; 33.545. Active; 16.459. | Dark. Ref. Active. |

Analog Out Noise:

GTM016AN V33D from Vref

external vref *0.5

PAD_39 to 75kOhm parallel 100nF to GND

last 1000 counts

| Ipix \ Gain | 1 | 4 |
| --- | --- | --- |
| 2u | Dark; 7.166. Ref; 7.07. Active; 6.634. | Dark; 6.564. Ref; 6.599. Active; 10.582. |
| 5u | Dark; 19.173. Ref; 19.396. Active; 6.568. | Dark; 20.441. Ref; 20.371. Active; 10.597. |
| 10u | Dark; 39.727. Ref; 39.391. Active; 6.504. | Dark; 41.864. Ref; 42.302. Active; 10.887. |
| 40u | Dark; 220.133. Ref; 224.349. Active; 6.77. | Dark; 216.537. Ref; 223.037. Active; 12.164. |

Vbandgap noise:

last 1000 counts

Ipix noise:

external vref *0.5

last 1000 counts

| Ipix \ Gain | 4 |
| --- | --- |
| 10u | Active; 6.38. |
| 20u | Active; 12.205. |
| 40u | Active; 24.955. |

| Ipix \ Gain | 4 |
| --- | --- |
| 10u |  |
| 20u |  |
| 40u |  |

system test

Vref * ¼ to Ext. ADC with ADA4891

Vref * ½ to Ext. ADC with ADA4891

system test

ADP150 Vout * 1/2 to Ext. ADC with ADA4891  (without GTM016AN)

ADP150 Vout * 1/2 to Ext. ADC with ADA4891  (with GTM016AN)